## page 4
77-02-451 | Swinging anti-downdraft cowl, 4" diameter |  |  |  |  | £49.00 C
for oil and multi-fuel stoves
77-02-495 | Swinging anti-downdraft cowl, 5" diameter |  |  |  |  | £56.79 C
for oil and multi-fuel stoves, for 28" above deck extension
77-02-593 | Swinging anti-downdraft cowl, 6" diameter |  |  |  |  | £79.05 C
for oil and multi-fuel stoves, for 12" above deck extension
77-02-442 | 4" rosette matt black |  |  |  |  | £15.36 C
78-01-200 | 125 mm (5") Draft Regulator |  | £9.11 C
78-01-210 | 150 mm (6") Draft Regulator |  | £29.01 C
77-02-822 | Deck Flange covers galvanised steel solid top perforated sides | [5 empty] | £20.63 C
77-02-823 | Deck Flange covers galvanised steel solid top solid sides | [5 empty] | £22.18 C
to suit our above deck extentions 12" & 28"
77-02-820 | To suit internal flue pipe diameter 88.9 mm |  |  | £150.68 C
77-02-821 | To suit internal flue pipe diameter 100 mm |  |  | £150.68 C
77-02-821A |  | To suit internal flue pipe diameter 100 mm |  |  | £123.19 C
77-02-821B |  | To suit internal flue pipe diameter 125 mm |  |  | £123.19 C

## page 5
77-02-670 | 1000 mm straight length |  | £46.06 C
77-02-674 | 500 mm straight length |  | £27.79 C
77-02-678 | 90 degree elbow |  | £44.58 C
77-02-682 | 45 degree elbow |  | £57.29 C
77-02-705 | 30 dg gree elbow |  | £52.04 C
77-02-686 | 1000 mm stainless mesh flue guard |  | £26.20 C
77-02-689 | 500 mm stainless mesh flue guard |  | £20.60 C
77-02-693 | Deck flange to suit 70 mm flue |  | £107.27 C
77-02-695 | Cover for deck penetration unit |  | £22.50 C
77-02-697 | Trim for deck penetration unit |  | £13.20 C
77-02-699 | Cylindrical terminal |  | £89.67 C
77-02-701 | H-formed terminal |  | £93.10 C
77-02-691 | 250 mm sleeve |  | £22.87 C
77-02-671 | 1000 mm straight length | £110.98 C
77-02-675 | 500 mm straight length | £71.81 C
77-02-679 | 90 degree elbow | £79.64 C
77-02-683 | 45 degree elbow | £79.64 C
77-02-672 | 1000 mm straight length |  |  | £41.13 C
77-02-676 | 500 mm straight length |  |  | £25.85 C
77-02-680 | 90 degree elbow |  |  | £44.51 C
77-02-684 | 45 degree elbow |  |  | £44.51 C
77-02-704 | 30 degree elbow |  |  | £70.33 C
77-02-706 | 15 degree elbow |  |  | £68.41 C
77-02-687 | 1000 mm stainless mesh flue guard |  |  | £30.40 C
77-02-690 | 500 mm stainless mesh flue guard |  |  | £23.87 C
77-02-694 | Deck flange to suit 90 mm flue |  |  | £93.73 C
77-02-696 | Cover for deck penetration unit |  |  | £21.98 C
77-02-698 | Trim for deck penetration unit |  |  | £16.10 C
77-02-700 | Cylindrical terminal |  |  | £96.82 C

## page 6
77-02-673 | 1000 mm straight length |  | £116.33 C
77-02-677 | 500 mm straight length |  | £71.09 C
77-02-681 | 90 degree elbow |  | £81.62 C
77-02-685 | 45 degree elbow |  | £82.70 C
77-02-400 | 90 mm diameter x 1.7 m for oil and multi-fuel stoves | [5 empty] | £45.73 C
77-02-401 | 100 mm diameter x 1.7 m for oil and multi-fuel stoves | [5 empty] | £58.29 C
(suitable for Belfort)
77-02-638 | Adaptor for use with Morso & Little Wenlock stoves and | [5 empty] | £11.75 C
100mm flue pipe
77-02-641 |  | 90 mm diameter x 1.7 m for oil and multi-fuel stoves |  |  |  | £107.06 C
77-02-642 77-02-642A |  | 100 mm diameter x 1.7 m for oil and multi-fuel stoves 100 mm x 1.7m 18g polished stainless steel flue |  |  |  | £125.47 C £187.13 C
77-02-633 | Long traditional above deck chimney extension: 28" |  |  |  | £84.94 C
for oil and multi-fuel stoves, suitable for house boats
77-02-634 | Short traditional above deck chimney extension: 12" |  |  |  | £54.84 C
for oil and multi-fuel stoves, mainly for cruising
77-02-321 | Fully Insulated High Performance Short Above Deck Chimney Ext 12" | [6 empty] | £87.23 C
For appliances needing chimneysof 4" diameter
77-02-320 | Fully Insulated High Performance Long Above Deck Chimney Ext 20" | [6 empty] | £116.95 C
For appliances needing chimneysof 4" diameter
77-02-903 | Fully Insulated High Performance Short Above Deck Chimney Ext 12" | [6 empty] | £99.42 C
For appliances needing chimneysof 5" diameter
77-02-902 | Fully Insulated High Performance Long Above Deck Chimney Ext 20" | [6 empty] | £116.95 C
For appliances needing chimneysof 5" diameter
77-02-313 | To Suit 4" Flue (5" Insulated above deck.) |  |  | £42.30 C
77-02-928 | To Suit 5" Flue (6" Insulated above deck.) |  |  | £44.09 C

## page 7
77-01-960 | 1 kg natural | £7.05 C
77-01-957 | 1 kg black | £7.05 C
77-01-959 | 3 kg natural | £17.63 C
77-01-961 | 6 kg natural | £22.00 C
87-01-430 | Round Bubble one piece mica panel |  |  |  | £4.56 C
87-01-433 | Round Bubble glass |  |  |  | £5.75 C
188798-B | Bubble 1 and Corner Oil Bubble one piece glass panel |  |  |  | £41.96 C
188798-B | Corner Solid Fuel one piece glass panel |  |  |  | £41.96 C
188779-B | Bubble 2 and Bubble 2 Inset one piece glass panel |  |  |  | £41.70 C
188780-B | Bubble 3 one piece glass panel |  |  |  | £68.87 C
259015-B | B1/2 Squares to hold glass (4 required for each door) |  |  |  | £1.22 C
77-03-017 | Screws to hold squares (259015- 4 for each door) |  |  |  | £0.18 C
142881-B | Gasket for door glass (4 for each door) |  |  |  | £0.63 C
77-01-919 | Glazing tape 15 mm x 3 mm x 25 m |  |  | £31.52 C
77-01-920 | Glass fibre flat ladder rope 15 mm x 3 mm |  |  | £3.13 C
(rope seal for door glass edging)
77-01-908 | 3 mm diameter x 1 m |  | £6.50 C
77-01-910 | 8 mm diameter x 1 m |  | £6.50 C
77-01-912 | 9 mm diameter x 1 m |  | £6.50 C
77-01-914 | 12 mm diameter x 1 m |  | £6.50 C
77-01-918 | 14 mm diameter x 1 m |  | £6.50 C
77-01-922 | 20 mm diameter x 1 m |  | £6.50 C

## page 8
87-04-500 |  | Micatech 25 x 610 x 1000 mm |  |  | £29.25 C
87-04-500B |  | Vicuclad 50 x 610 x 1000 mm |  |  | £43.05 C
77-01-625 |  | Tac board 10 mm thick. Cut to size, price per square metre |  |  | £28.25 C
77-01-630 |  | Tac Board 9MM 4FT X 2FT nominal panel - W72 |  |  | £28.46 C
77-01-965 | Ceramic rope adhesive |  |  | £3.69 C
77-01-971 | High temperature linear sealant |  |  | £12.92 C
300 ml cartridge to fit applicator gun
77-01-966 | 200 ml tin: black |  | £13.29 C
77-01-950 | 400 ml aerosol: black |  | £8.48 C
77-01-952 | 400 ml aerosol: forest green |  | £13.32 C

## page 9
77-01-706 | 1/4" BSPT to 10 mm adaptor |  |  |  | £3.51 C
77-01-705 | 1/4" BSPT to 8 mm adaptor |  |  |  | £3.07 C
77-01-727 | 1/2" BSP brass hexagonal nipple (6582) |  |  |  | £2.42 C
77-01-728 | 1/2" X 3/8" MXM reducing nipple brass HEX |  |  |  | £1.75 C
77-01-710 | 3/8" BSPT to 8 mm adaptor |  |  |  | £3.16 C
77-01-711 | 3/8" BSPT to 10 mm adaptor |  |  |  | £3.57 C
77-01-723 | 10 mm - 10 mm straight compression |  |  |  | £3.24 C
77-01-717 | 8 mm - 8 mm straight compression |  |  |  | £2.57 C
77-01-724 | 10 mm - 10 mm 90 degree compression elbow |  |  |  | £1.73 C
77-01-718 | 8 mm - 8 mm 90 degree compression elbow |  |  |  | £2.68 C
77-01-720 | 10 mm compression bulkhead fitting |  |  |  | £8.04 C
77-01-719 | 8 mm compression bulkhead fitting |  |  |  | £4.89 C
77-01-725 | 10 mm to 8 mm compression reducer |  |  |  | £4.18 C
77-01-742 | 14" BSPT to 1/4" BSPT male adaptor (6580) |  |  |  | £0.94 C
77-01-713 | 3/8" BSPT to 3/8" BSPT male adaptor |  |  |  | £1.28 C
77-01-747 | 1/2" BSPT to 1/2" BSPT iron socket female |  |  |  | £3.49 C
77-01-764 | 10 mm diameter soft copper price per metre |  |  |  | £2.01 C
77-07-006B |  | Filter with aluminium bowl and washable cartridge |  |  |  | £13.24 C
(3/8" BSP female)
77-07-005 |  | 19489 Crosslands filter complete |  |  |  | £28.83 C
77-07-005-1 |  | 19493 Crosslands filter complete |  |  |  | £30.44 C
77-07-004-A |  |  | 1.5M KBB FIRE VALVE 65 DG C (10810) | £56.96 C
77-07-004-J |  |  | 12.0M KBB FIRE VALVE 65 DG (13371) | £134.81 C
77-07-004-B |  |  | 6.0M KBB FIRE VALVE 65 DG C (10813) | £63.97 C
77-07-004-H |  |  | 6.0M KBB FIRE VALVE 90 DG C | £66.05 C
77-07-004-D |  |  | 9.0M KBB FIRE VALVE 65 DG (10814) | £73.41 C
77-07-004-K |  |  | 1.5M PTFV FIRE VALVE 65 DG C | £36.81 C
77-07-004-P |  |  | 12M PTFV FIRE VALVE 90 DG C | £71.60 C
77-07-004-L |  |  | 3.0M PTFV FIRE VALVE 65 DG C | £40.61 C
77-07-004-M |  |  | 3.0M PTFV FIRE VALVE 90 DG C | £62.76 C
77-07-004-N |  |  | 6.0M PTFV FIRE VALVE 90 DG C | £69.23 C
77-07-004-O |  |  | 9.0M PTFV FIRE VALVE 90 DG C | £71.60 C

## page 12
77-01-869 | Titan LP 1200 TT tank: 1200 litres, 260 gallons | £336.54 C
(length 1780 mm, width 1380 mm, height 890 mm)
77-01-872 | Titan H 1300 TT tank: 1300 litres, 285 gallons | £414.46 C
(length 1700 mm, width 1050 mm, height 1150 mm)
77-01-873 | Titan H 1800 TT tank: 1800 litres, 410 gallons | £547.09 C
(length 2055 mm, width 1130 mm, height 1145 mm)
77-01-874 | Titan H 2500 TT tank: 2500 litres, 550 gallons | £668.12 C
(length 2250 mm, width 1265 mm, height 1320 mm)
77-01-875 | Titan V 1300 TT tank: 1300 litres, 285 gallons | £336.54 C
(diameter 1190 mm, hight 1400 mm)
77-01-876 | Titan FM 5000 Fuelmaster bunded tank: 5000 litres, 1100 gallons | £5,735.74 C
(length 31220 mm, width 2330 mm, height 2090 mm)
77-01-877 | Titan V 5000 TT tank: 5000 litres, 1100 gallons | £1,143.73 C
(diameter 2010 mm, height 2240 mm)
77-01-878 | Titan V 10000 TT tank: 10000 litres, 2200 gallons | £2,304.18 C
(diameter 2640 mm, height 2480 mm)
77-01-879 | Titan V 3600 TT tank: 3600 litres, 800 gallons | £722.82 C
(diameter 1840 mm, height 1750 mm)
77-01-880 | Titan ES 1225B EcoSafe bunded tank: 1225 litres, 269 gallons | £1,007.97 C
(length 2070 mm, width 1000 mm, height 1580 mm)
77-01-881 | Titan ES 1300B EcoSafe bunded tank: 1300 litres, 385 gallons | £1,099.15 C
(length 1900 mm, width 1220 mm, height 1330 mm)
77-01-882 | Titan ES 2500B EcoSafe bunded tank: 2500 litres, 550 gallons | £1,276.54 C
(length 2530 mm, width 1470 mm, height 1550 mm)
77-01-883 | Titan ES 5000B EcoSafe bunded tank: 5000 litres, 1100 gallons | £2,420.50 C
(diameter 2250 mm, height 2400 mm)
77-01-884 | Titan FM 2500 Fuelmaster bunded tank: 2500 litres, 550 gallons |  | £3,002.13 C
(length 2530 mm, width 1430 mm, height 1855 mm)
77-01-890 | Titan V 2500 TT tank: 2500 litres, 550 gallons |  | £484.09 C
(diameter 1640 mm, height 1440 mm)
77-01-891 | Titan R 1225 TT tank: 1225 litres, 270 gallons |  | £452.60 C
(length 1700 mm, width 720 mm, height 1400 mm)
77-01-892 | Titan FMV 5000 Fuelmaster bunded tank: 5000 litres, 1100 gallons |  | £5,735.18 C

## page 13
77-01-744 Deck Filler |  | 15 mm compression x 1/2" BSP parallel male (6671) |  | £1.41 C
77-01-842 |  | Brass deck filler (70D008) |  | £22.82 C
Filler Hose
77-01-844 |  | 1 m filler hose |  | £17.89 C
Fuel Tank Vent
77-01-840 |  | 1/2" BSP brass fuel tank vent |  | £9.14 C
Stop Plug
77-01-743 |  | 1/2" square head BSPT |  | £1.10 C
Tank Adaptors
77-01-850 |  | Adaptor for tank 3 1/2" long (TM4545) |  | £8.00 C
77-01-851 |  | Adaptor for tank 6 1/4" long (TM4549) |  | £8.35 C
77-01-852 |  | Adaptor for tank 7 1/4" long (TM4547) |  | £10.31 C
77-01-855 | Filter kit for Tankmaster |  | £7.05 C
Tigerloop
77-01-857 | TL6000 |  | £84.99 C
77-01-858 | Fitting kit |  | £45.41 C

## page 14
77-01-640 | Single coil 18" x 12" copper (23.5 litres, 5.2 gallons) |  | £259.59 D
77-01-642 | Single coil 24" x 12" copper (34.1 litres, 7.5 gallons) |  | £280.83 D
77-01-644 | Single coil 30" x 12" copper (44.7 litres, 9.8 gallons) |  | £339.39 D
77-01-646 | Single coil 33" x 12" copper (50.0 litres, 11.0 gallons) |  | £316.90 D
77-01-648 | Single coil 36" x 12" copper (55.3 litres, 12.2 gallons) |  | £343.90 D
77-01-650 | Single coil 18" x 14" copper (31.2 litres, 6.9 gallons) |  | £282.23 D
77-01-652 | Single coil 24" x 14" copper (45.7 litres, 10.1 gallons) |  | £302.54 D
77-01-654 | Single coil 30" x 14" copper (60.1 litres, 12.2 gallons) |  | £317.08 D
77-01-656 | Single coil 33" x 14" copper (67.1 litres, 14.8 gallons) |  | £343.06 D
77-01-658 | Single coil 36" x 14" copper (74.5 litres, 16.4 gallons) |  | £372.25 D
77-01-660 | Single coil 18" x 18" copper (48.4 litres 10.6 gallons) |  | £395.47 D
77-01-662 | Single coil 24" x 18" copper (72.3 litres, 15.9 gallons) |  | £418.70 D
77-01-664 | Single coil 30" x 18" copper (96.2 litres, 21.2 gallons) |  | £439.03 D
77-01-666 | Single coil 33" x 18" copper (108 litres, 23.8 gallons) |  | £453.55 D
77-01-668 | Single coil 36" x 18" copper (120 litres, 26.4 gallons) |  | £468.09 D
77-01-641 | Twin coil 18" x 12" copper (23.5 litres, 5.2 gallons) | £288.61 D
77-01-643 | Twin coil 24" x 12" copper (34.1 litres, 7.5 gallons) | £311.49 D
77-01-645 | Twin coil 30" x 12" copper (44.7 litres, 9.8 gallons) | £321.44 D
77-01-647 | Twin coil 33" x 12" copper (50.0 litres, 11.0 gallons) | £345.97 D
77-01-649 | Twin coil 36" x 12" copper (55.3 litres, 12.2 gallons) | £372.93 D
77-01-651 | Twin coil 18" x 14" copper (31.2 litres, 6.9 gallons) | £311.26 D
77-01-653 | Twin coil 24" x 14" copper (45.7 litres, 10.1 gallons) | £331.59 D
77-01-655 | Twin coil 30" x 14" copper (60.1 litres, 12.2 gallons) | £346.11 D
77-01-657 | Twin coil 33" x 14" copper (67.1 litres, 14.8 gallons) | £378.07 D
77-01-659 | Twin coil 36" x 14" copper (74.5 litres, 16.4 gallons) | £401.30 D
77-01-661 | Twin coil 18" x 18" copper (48.4 litres 10.6 gallons) | £451.66 D
77-01-663 | Twin coil 24" x 18" copper (72.3 litres, 15.9 gallons) | £470.86 D
77-01-665 | Twin coil 30" x 18" copper (96.2 litres, 21.2 gallons) | £483.52 D
77-01-667 | Twin coil 33" x 18" copper (108 litres, 23.8 gallons) | £507.56 D
77-01-669 | Twin coil 36" x 18" copper (120 litres, 26.4 gallons) | £574.87 D
77-01-690 | High recoverable hot water cylinder (10 gallons) | £440.07 D

## page 15
77-01-693 | Immersion heater |  |  |  |  | £39.16 C
77-01-694 | 3 bar service valve |  |  |  |  | £40.47 C
| Single check valve |  |  |  |  | TBA C
| Flexi adaptor |  |  |  |  | TBA C
| Vessel adaptor |  |  |  |  | TBA C
| High recovery coil |  |  |  |  | TBA C
77-01-695 | Cylinder thermostat (operating temperature 20°C to 90°C) |  |  |  |  | £40.47 C
77-01-696 | Safety / pressure relief valve (set at 3 bar / 44 PSI) |  |  |  |  | £16.19 C
77-01-697 | Safety / pressure relief valve with gauge (set a 3 bar / 44 PSI) |  |  |  |  | £32.56 C
77-07-019 |  |  | 6 litre non potable expansion vessel | £39.50 C
77-07-017 77-07-017-A 77-07-017-B 77-07-017-C |  |  | 12 litre non potable expansion vessel 18 litre non potable expansion vessel 24 litre non potable expansion vessel 8 litre non potable expansion vessel | £45.53 C £50.34 C £72.06 C £43.59 C
77-07-020 Pumps |  | 6 litre non potable pressure system complete |  |  | £103.21 C
Bilge 75-01-030 |  | Rule automatic bilge Pumps 500 gallon per hour |  |  | £84.85 C
75-01-035 |  | Rule automatic bilge Pumps 1100 gallon per hour |  |  | £133.95 C
75-01-020 |  | Rule Electric bilge Pumps 500 gallon per hour |  |  | £35.95 C
75-01-025 Shower 75-01-001 |  | Rule Electric bilge Pumps 800 gallon per hour Whale gulper shower & waste |  |  | £43.86 C £188.39 C

## page 16
77-01-560 | 12 V water circulating pump |  | £116.33 H
77-01-561 | 24 V water circulating pump |  | £132.18 H
77-07-026 | 230/240 grundfoss circulating 5M pump |  | £54.05 H
77-07-031 | 230 V SP55 5m water circulating pump |  | £48.94 H
77-01-564 | Jabsco 12V dc water circulating pump |  | £92.96 H
77-01-565 | Jabsco 8-28V dc water circulating pump 1/2" |  | £120.97 H
77-01-566 | Jabsco 8-28V dc water circulating pump 19mm |  | £120.97 H
77-01-543 | Motor speed controller (switched mode power supply) |  |  |  |  | £30.99 C
77-01-547 | 3/4" hose to 15 mm copper adaptor (12 V pump) |  |  |  |  | £3.53 C
77-01-551 | 5/8" hose to 15 mm copper adaptor (24 V pump) |  |  |  |  | £3.53 C
77-01-545 | Stainless steel hose clip for adaptor (common to both pumps) |  |  |  |  | £11.75 C
77-07-022 | Auto air vents |  |  |  |  | £9.48 C
77-01-562 | 12 V water circulating pump kit |  |  | £177.14 D
77-01-563 | 24 V water circulating pump kit |  |  | £156.80 D
| Jabsco 12V dc water circulating pump kit |  |  | D
| Jabsco 8-28V dc water circulating pump kit 1/2mm |  |  | D
| Jabsco 8-28V dc water circulating pump kit 19mm |  |  | D
77-07-040 | Protector cartridge (fernox) | £38.68 D
77-07-041 | Restorer cartridge (fernox) | £32.20 D
77-07-043 | Sentinel system inhibitor x 100 1 litre | £30.02 D
77-06-020 | Underfloor heat exchangers 10kw x 20 gallon store |  |  |  | TBA
77-06-021 | Underfloor heat exchangers 8kw x 15 gallon store |  |  |  | £411.24 H
77-06-022 | Underfloor heat exchangers 5kw x 10 gallon store |  |  |  | TBA

## page 17
77-07-024 | 12-24 V DC-DC converter 8A (ICO 8660) | £164.64 H
77-07-029 | 12V battery charger SBC-4 | £28.45 H

## page 18
77-01-085 |  | Delta F84 1600 mm 1/8 x 1/8 |  |  |  | £25.94 C
77-01-084 |  | Brahma E7L 1/8 x 1/8 1809100 |  |  |  | £20.27 C
77-01-047-C |  | Suntec |  |  |  | £22.64 C
77-01-016-J |  |  |  | Danfoss .3 x 60 degree H | £9.90 C
77-01-016-K |  |  |  | Danfoss .3 x 80 degree H | £9.90 C
77-01-016-L |  |  |  | Danfoss .35 x 60 degree H | £9.90 C
77-01-016-H |  |  |  | Danfoss .4 x 60 degree H | £7.90 C
77-01-016 |  |  |  | Danfoss .4 x 80 degree H | £7.90 C
77-01-016-G |  |  |  | Danfoss .5 x 60 degree H | £7.90 C
77-01-016-A |  |  |  | Danfoss .5 x 80 degree H | £7.90 C
77-01-016-AC |  |  |  | Danfoss .55 x 80 degree H | £7.90 C
77.01-016-C |  |  |  | Danfoss .6 x 60 degree H | £7.90 C
77-01-016-AB |  |  |  | Danfoss .6 x 80 degree H | £7.90 C
77-01-016-D |  |  |  | Danfoss .65 x 60 degree H | £7.90 C
77-01-016-B |  |  |  | Danfoss .65 x 80 degree H | £7.90 C
77-01-016-E |  |  |  | Danfoss .75 x 60 degree H | £7.90 C
77-01-014-D |  |  |  | Danfoss .75 x 80 degree H | £7.90 C
77-01-016-F |  |  |  | Danfoss .85 x 60 degree H | £7.90 C
77-01-014-G |  |  |  | Danfoss 1.0 x 60 degree S | £7.90 C
77-01-016-N |  |  |  | Danfoss 1.65 x 80 degree H | £7.90 C
77-01-066 |  |  | S701 base and cable entry plate |  |  |  |  | £12.40 C
77-01-065 |  |  | TFI830.2B and TFI832.3B controller top |  |  |  |  | £42.30 C
87-01-900-19 |  |  | DKO 992 satronic control box top for 230/240 V PJ |  |  |  |  | £95.56 C
80-01-007 |  |  | TF1852B control box 240V now replaced by (MM1810.1) mod 35 |  |  |  |  | £172.04 C
77-01-064 |  |  | MM1 810.1 satronic gas controller top |  |  |  |  | £109.35 C
77-01-065-1 | MW 880HH multi-wire | [5 empty] | £24.39 C
77-01-066 | S98 base & cable entry plate (75310 & 70503) | [5 empty] | £12.40 C

## page 19
Electrodes
77-01-009 |  |  | NF 1 124330 (blue / black box burner) one off electrode |  | £15.63 C
77-01-441 |  |  | Flexaflame burner two off electrodes |  | £7.05 C
77-01-026 |  |  | 4-317 Red female bullet connector 4mm |  | £0.89 C
80-01-005 |  | Satronic ZT812 0.4 m |  |  |  | £43.53 C
77-01-355 |  | Brahma TC2S724A / TC2STCA |  |  |  | £34.93 C
77-01-335-1 |  | Satronic ZT930 |  |  |  | £46.75 C
77-01-358 |  | Danfoss EB1 052F0030 |  |  |  | £49.67 C
77-01-382 |  | Noelec 240 volt (3905100) |  |  |  | £56.40 C
Motors
77-01-001-AA |  | Burner pump motor type 1/2162 (VDE0530/84 100) |  |  |  | £109.83 C
77-01-001-E |  | Burner pump motor type 1/2158 |  |  |  | £109.83 C
77-01-385 |  | NOTA AVAILABLE ANY MORE SEE: 77-01-389A Stemshire 1/2" ST1248 240 V 50 Hz: |  |  |  | N/A C
reference 73038027 230-1-50 CL-F (replaced Mycalex K3-24-049 motor)
77-01-389A |  | Smith Motor 230v 50HZ c/w mounting plate |  |  |  | £85.00 C
77-01-001-B | Simel: require two per motor |  |  | £16.90 C
77-01-001-D | Stemshire: require two per motor |  |  | £16.81 C
77-01-001-D | Mycalex: require two per motor |  |  | £16.81 C

## page 20
Photocells
77-01-004-A 77-01-351 |  | Danfoss LD type 057H202011 48 mm cable Satronic MZ 7705 and MZ flange | £17.03 C £8.57 C
77-01-335-A | Mains plug to suit Satronic ZT930 |  |  | £5.22 C
77-01-336-A | Brahma HT leads - 2 per transformer |  |  | £4.92 C
77-01-336-B | Satronic HT leads to suit blue box burner |  |  | £7.95 C
(2 per transformer)
77-01-336-C | Satronic HT leads to suit VM1, MB1 and F2 burners |  |  | £11.16 C
(2 per transformer)
77-01-026 | Red female bullet conectors to convert to ZT930 transformer |  |  | £0.89 C
77-01-390 | EB1 service kit 052F0061 inc lead & clamps for EB1 052F0030 |  |  | £19.00 C

## page 21
77-09-025 | Bubble pressure jet boiler capillary thermostat |  | £15.66 C
50-86 (TUA4C-004)
77-01-008 | Bubble pressure jet boiler capillary thermostat |  | £13.06 C
M/R 95C (TSLM 32-03)
77-09-024 | Bubble pressure jet boiler root thermostat (TA630-01) |  |  | £31.33 C
77-07-023 | Bubble pressure jet boiler frost thermostat |  |  | £18.78 C
77-01-522 | Siemens programmable room stat (REV12) |  |  | £193.43 C
77-01-007 |  | Bubble bi-pole thermostat |  |  | £38.09 C
77-01-007-C |  | Bubble bi-pole thermostat assembly |  |  | £70.92 C
77-01-011 |  | Sopac pipe thermostat SAX3X-001 clip on pipe stats |  |  | £31.23 C
(replaces SA09-01 and SA25-91) adj & fixed
77-01-011-A |  | Cylinder/Pip stat (SAX3X003) |  |  | £28.44 C
77-01-007-A1 |  | Bi-pole stat assy (Rayburn supreme) Oil conversion |  |  | £81.08 C
77-01-007-B |  | Bi-pole stat assy (S/Super star) Oil conversion |  |  | £65.27 C
77-01-007-D |  | Bi-pole L/Lead boxed themostat |  |  | £67.96 C

## page 23
77-01-513 | 25 ml measuring cylinder, 0.5 ml steps | £9.66 C
77-01-514 | 50 ml measuring cylinder, 1.0 ml steps | £10.69 C

## page 24
78-01-008B | Toby 3904006 DVR 4/13 4CST | £95.24 C
78-01-008E | Toby OCV 4/13 cc 1.8 5215D100H99 | £91.60 C
78-01-008G | Toby OCV 4/16 4CST 3904122 | £95.24 C
78-01-008H | Toby OCV 4/18 4CST 3904123 | £79.41 C
78-01-024 | OCI marine 252AY 4/10 4CST | £122.28 C
78-01-035 | 252AY 4/13 4 cst oil control valve | £92.20 C
78-01-036 | 252AY 4/16 4 cst oil control valve | £92.20 C
78-01-017 | OCI 240VRW02 4/20 4 CST | £89.49 C
78-01-016 | OCI 240VRW02 4/20 1.8 CST | £89.49 C
78-01-009 | OCI 240VRW02 4/18 4 CST | £89.49 C
78-01-007 | OCI 240VRW02 4/18 1.8 CST | £89.49 C
78-01-029 | OCI 240VRSW02 6/27 1.8 CST | £89.49 C
78-01-018 | OCI 240VRSW02 4/22 4 CST | £89.49 C
78-01-012 | OCI 240VRSW02 4/22 1.8 CST | £89.49 C
78-01-028 | OCI 240VRSW02 4/20 4 CST | £89.49 C
78-01-027 | OCI 240VRSW02 4/20 1.8 CST | £89.49 C
78-01-026 | OCI 240VRSW02 4/18 4 CST | £89.49 C
78-01-025 | OCI 240VRSW02 4/18 1.8 CST | £89.49 C
78-01-021 | OCI 240VR 4/8 4 CST | £64.68 C
78-01-013 | OCI 240VR 4/8 1.8 CST | £64.68 C
78-01-004 | OCI 240VR 4/20 4 CST | £64.68 C
78-01-011 | OCI 240VR 4/20 1.8 CST | £64.68 C
78-01-023 | OCI 240VR 4/18 4 CST | £64.68 C
78-01-020 | OCI 240VR 4/18 1.8 CST | £64.68 C
78-01-019 | OCI 240VR 4/16 4 CST | £64.68 C
78-01-014 | OCI 240VR 4/16 1.8 CST | £64.68 C
78-01-022 | OCI 240VR 4/13 4 CST | £64.68 C
78-01-010 | OCI 240VR 4/13 1.8 CST | £64.68 C
78-01-006 | OCI 240VR 3/6 4 CST | £64.68 C
78-01-003 | OCI 240VR 3/6 1.8 CST | £64.68 C

## page 25
78-01-008C |  | Toby aquastat (to suit 78-01-008B) |  | £90.50 C
78-01-008D |  | Toby phial pocket to suit aquastat |  | £12.07 C
78-01-160 | 7 kW includs oil control valve & descaler |  |  |  | £184.21 C
78-01-150 | 10 kW includs oil control valve & descaler |  |  |  | £191.21 C
78-01-173 |  |  | Socomef catalyser to suit 7" blue flame burner (corner oil) & Aga vap |  |  | £27.91 C
78-01-174 |  |  | Socomef catalyser to suit 8" & 10" blue flame burner |  |  | £34.15 C
78-01-176 |  |  | Socomef flame ring to suit 7" blue flame burner (corner oil) |  |  | £17.00 C
78-01-177 |  |  | Socomef flame ring to suit 8" blue flame burner |  |  | £18.00 C
78-01-178 |  |  | Socomef flame ring to suit 10" blue flame burner |  |  | £20.37 C
78-01-001-A |  |  | Aga vap cast ring & also awena pot ring |  |  | £11.28 C
119216-B |  |  | Bubble descaling device to suit all burners |  |  | £24.42 C
78-01-100 |  |  | Socomef descaling device to suit all burners |  |  | £15.21 C
78-01-101 |  |  | Socomet packig gland for descaling device PTFE seal |  |  | £2.47 C
194401-B |  |  | Bubble upper catalyser |  |  | £29.58 C
(for Rayburn Royal, Regent, MF or Supreme)
198205-B |  |  | Bubble catalyser ring for Rayburn Royal, Regent, MF or Supreme |  |  | £10.13 C
194402-B |  |  | Bubble catalyser body for Rayburn Royal, Regent, MF or Supreme |  |  | £29.77 C
78-01-110 |  |  | Bubble cleaning tool for small pot (B1 and B2 up to 3/5 kW) |  |  | £12.82 C
78-01-112 |  |  | Bubble cleaning tool for small pot (B2 9/2, B2I and B3 twin pot) |  |  | £12.82 C

## page 26
78-01-015 |  | OCI flexatemp 230 vac (4503-012V) |  |  | £60.82 C
165652-B |  | including microswitch (4509-020V) |  |  | £66.64 C
78-01-015-1 |  | OCI flexatemp12 vdc aga type |  |  | £55.01 C
78-01-042 | 240 V |  | £11.10 C
78-01-040 | 12 V |  | £11.10 C
77-01-925 | Bubble wick 1/2" |  |  | £2.35 C
77-01-926 | Aga wick 1 m |  |  | £11.16 C